## 1. Introduction
Annual Health and Safety Self Monitoring Checklist
CONTENTS:
1 | Introduction
2 | The Law
3 | Key Action Points
4 | Why is the checklist necessary?
5 | The self monitoring cycle
1 | Introduction
Heath and Safety Management Systems which include regular inspections of the workplace, demonstrates a commitment to providing a safe place of work and establishes a culture throughout the Council of a caring and well managed organisation. There are policy arrangements to support the self monitoring checklist which can be accessed via Shropnet and Shropshire Learning Gateway.
2 | Law
Under The Management of Health and Safety at Work Regulations, Regulation 5, it is a legal requirement for employers to implement effective planning, organisation, control, monitoring and review of the preventative and protective measures for controlling risks in the workplace. Formal systems for inspections satisfy these statutory requirements. The systems can help prevent, detect and remedy many failures that lead to accidents/ill heath, resource loss and eventual prosecution, civil claims and higher insurance premiums.
The Annual Health and Safety Self Monitoring Checklist is a tried and tested means of complying with these statutory duties. It is recognised that the checks are carried out within the limits of competency of those involved. It does not imply personal legal liability or responsibility for any deficiencies if appropriate remedial measures have been actioned and implemented.
3 | Key Action Points
· Arrange to carry out a thorough self monitoring inspection of health and safety matters at least once per year between April and August.
· Ensure prompt remedial actions are implemented to deal with any significant risks identified.
· Transfer the scores from each section of the checklist onto the action plan and send to the Health and Safety Team for collating the data.
4 | Why is this checklist necessary
The checklist enables Shropshire Council to:
· Check that the law is being adhered to
· Check that policies are being followed
· Check that all employees have been given the appropriate health and safety information
· Check that health and safety training is effective
· Check progress on specific objectives and plans
· The health and safety management system is working
· Pick up examples of good practice that can be shared with other parts of the organisation
· Identify problems and help work out solutions
4.1 | The approach adopted aims to emphasise achievement and success rather than merely measuring failure by looking only at accident/incident data. The approach also aims to recognise the constraints under which a business operates and make constructive, realistic proposals for improving health and safety.
4.2 | The monitoring process gives Managers the opportunity to:
· discuss health and safety issues faced by their Team with a health and safety professional
· assess their Team’s health and safety performance
· make plans to achieve improvements
5 | The Self Monitoring Cycle
rev 2014
N.B. The timing is important to be able to collect the data from all Council's Premises to obtain an overview of how well the system is working across the Council
*Feedback. The results will be collated by the Health and Safety Team to provide a brief report for the Service Areas Health and Safety Groups for monitoring, approval and/or improvements. The reports will be sent periodically to the Health, Safety and Welfare Group.
The completed Premise Annual Self Monitoring Checklist must be completed and sent to the Health and Safety Team by the end of April each year.
The Team Annual Health and Safety Checklist can be completed at a time that is suitable for the Manager but it will require reviewing annually. It should be kept on site. (Not applicable to schools).

## 2. Procedure Guidance
Guidance on Procedures
This checklist has been designed for the Responsible Person e.g. Premise Manager, Line Manager, Headteachers/Governors to carry out a thorough and systematic safety audit of the offices, premises and activities they are in control of. The sections Part 1 - Management, Part 2 - Premise Buildings, are on separate sheets. N.B. Team Managers will undertake a separate site level checklist for their areas/offices.
The Self Monitoring Checklist
The self monitoring checklist has 7 sections on separate sheets within the workbook. The first 3 sections are the Introduction, Guidance on procedures and the Header sheet.
Premise Managers must complete the Header sheet, Both sections part 1 and part 2 and the Action Plan.
All Teams must complete the separate site level Health and Safety Checklist.
Note: The same person does not have to complete all of the sections - it may be beneficial to involve a number of staff with responsibilities in the different areas.
There are links throughout the excel document linking to further information where necessary. If you do not have access to the intra-net, please contact the Corporate - Health and Safety Team to request copies of the guidance/policies.
Each of the following sections are on separate sheets within the workbook
1. Introduction to the Self Monitoring process
2. Guidance This gives information on how to complete the new Health and Safety Self Monitoring Checklist
3. Header Sheet (All Teams to complete) This gives details of the area and the date that the checklist was completed.
4. Part 1 Management (All Teams to complete) deals with policies, risk assessments and procedures which need to be monitored. This will require checking more by means of observing evidence of practices and discussions with employees.
5. Part 2.To be completed by the person/s who are responsible or are in control of the building
6. Results This gives an overall percentage score for each section completed.
7. Action plan (All Teams to complete) is a pro forma action plan to pull together the actions needed where the answer to any of the questions in part 1 and part 2 have been “no” and the results of the risk ratings.
Scoring system
· Both sections part 1 and part 2 has been given a percentage scoring system to automatically calculate the risk rating. This can be found on the results sheet on completion. The higher the score the better the health and safety performance, the lower the score then remedial actions must be taken to improve the situation.
· If No is answered for any question in a section with a High risk rating, this is a high priority and must be actioned immediately.
· If No is answered for any question in a section with a Medium are given medium priority and should be actioned in a reasonable time period e.g. 1-3 months
· If No is answered for any question in a section with a Low this can be seen as low priority and either monitored or dealt within 6-12 months.
N.B. This is a judgement call and the decisions made must be reasonably practicable
Once completed the electronic version should be e-mailed to the Corporate Health and Safety Team
Contact Details
Health and Safety Team (H&S)
01743 252819
Health and Safety Team email health.safety@shropshire.gov.uk

## 3. Header Sheet
Annual Health & Safety Self Monitoring Checklist
Year_
Name & Location of Premises / Team
Name of Person undertaking Self Monitoring:
Name of Responsible Person (person in control of the workplace):
Telephone/contact number:
Date for completion:
Date Completed:
Date action plan sent to Health and Safety Team email address - health.safety@shropshire.gov.uk
Sent By - Name of Person:
Position:

## 4. Part 1 - Management
Part 1 - Management |  | Yes | No | N/A | If No (Give details of further action taken) | Risk Rating | Suggested timescale for remedial action
Only Use a (X) when answering
1 | Safety Policy & Organisation
1.1 | All employees are aware of the Council’s Corporate Health and Safety policy document. |  |  |  |  | HIGH | No action required | 0
1.2 | A local Health and Safety Policy exists, containing site specific arrangements for work activities that are undertaken at the site. |  |  |  | Date of last review: | MEDIUM | No action required | 0
1.3 | Each employee has access and is familiar with the local policy statement e.g. commitment of healthand safety management. (N.B. Statement can be displayed on staff notice board). |  |  |  |  | MEDIUM | No action required | 0
1.4 | Individual staff with health and safety responsibilities are identified and documented as part of the job description and/or in the organisation section of the local policy. |  |  |  |  | MEDIUM | No action required | 0
1.5 | The Health and Safety Policy document is regularly referred to, amended or added to as necessary. |  |  |  |  | MEDIUM | No action required | 0
1.6 | Health and Safety is a standard item at Team meetings/Governors' meetings/Management meetings and notes are recorded. |  |  |  |  | MEDIUM | No action required | 0
1.7 | The premise has a Trade Union Representative/ Health and Safety Representative/Co-ordinator. |  |  |  |  | MEDIUM | No action required | 0
1.8 | The Health and Safety Representative/Co-ordinator is involved in inspections/meetings/annual self-monitoring checklist. |  |  |  |  | MEDIUM | No action required | 0
1.9 | All Team Managers in large/complex buildings e.g. Shirehall have completed an Annual Health and Safety Site Level Checklist for their area/offices. (not applicable to schools). |  |  |  |  | MEDIUM | No action required | 0
1.1 | There is effective co-operation and communication on health and safety matters between managers, employees, health and safety representative/co-ordinator. |  |  |  |  | MEDIUM | No action required | 0
1.11 | There have been Health & Safety issues that could not be resolved in the last 12 months due to financial restrictions. |  |  |  |  | HIGH | No action required | 0
2 | Risk Assessments - All risk assessments have been carried out where required with regard to:-
2.1 | Job risks (Overall work activity) e.g. Site Managers, Caretakers, Cleaners, Science, Design andTechnology, Art, Physical Education, Leisure. |  |  |  |  | HIGH | No action required | 0
2.2 | Activity Risks e.g. | [6 empty] | 0
2.2.1 | Display Screen Equipment |  |  |  |  | HIGH | No action required | 0
2.2.2 | Manual Handling Operation |  |  |  |  | HIGH | No action required | 0
2.2.3 | Personal Protective Clothing |  |  |  |  | HIGH | No action required | 0
2.2.4 | Handling of Hazardous substances (COSHH) |  |  |  |  | HIGH | No action required | 0
2.2.5 | Working at Height use of ladders |  |  |  |  | HIGH | No action required | 0
2.2.6 | Use of work equipment |  |  |  |  | HIGH | No action required | 0
2.2.7 | Noise |  |  |  |  | HIGH | No action required
2.2.8 | Stress |  |  |  |  | HIGH | No action required | 0
2.3 | Personal Risks | [5 empty] | No action required | 0
2.3.1 | Special needs - e.g. visually impaired |  |  |  |  | HIGH | No action required | 0
2.3.2 | New / Expectant Mothers |  |  |  |  | HIGH | No action required | 0
2.3.3 | Young People |  |  |  |  | HIGH | No action required | 0
2.3.4 | Lone working |  |  |  |  | HIGH | No action required | 0
2.3.5 | Manual handling operations |  |  |  |  | HIGH | No action required | 0
2.3.6 | Workstation assessments (for each DSE user) |  |  |  |  | HIGH | No action required | 0
2.3.7 | Working at height |  |  |  |  | HIGH | No action required | 0
2.3.8 | Visits and Journeys (e.g. educational establishments) |  |  |  |  | HIGH | No action required | 0
2.3.9 | Does any member of staff require Health Surveillance e.g. working with hazardous substances or phycial hazards such as noise, vibration, extreme hot or cold environments, night workers. |  |  |  |  | HIGH | No action required
2.4 | Other activities with significant risk have been assessed e.g. | [6 empty] | 0
2.4.1 | Challenging Behaviour |  |  |  |  | HIGH | No action required | 0
2.4.2 | Council vehicles |  |  |  |  | HIGH | No action required | 0
2.4.3 | Handling Food |  |  |  |  | HIGH | No action required | 0
2.4.4 | Headstones |  |  |  |  | HIGH | No action required | 0
2.4.5 | Lifting equipment |  |  |  |  | HIGH | No action required | 0
2.4.6 | Machinery or tools (other than office) |  |  |  |  | HIGH | No action required | 0
2.4.7 | Outdoor events |  |  |  |  | HIGH | No action required | 0
2.4.8 | Play equipment - indoor/outdoor |  |  |  |  | HIGH | No action required | 0
2.4.9 | Pools (ponds, swimming pools) |  |  |  |  | HIGH | No action required | 0
2.4.10 | Pressure vessels (boilers/pressure cookers/coffee makers) |  |  |  |  | HIGH | No action required | 0
2.4.11 | Processes needing dust or fume extraction (LEV) |  |  |  |  | HIGH | No action required | 0
2.4.12 | Trees (N.B. biannually, 5 yearly depending on site) |  |  |  |  | HIGH | No action required | 0
2.4.13 | Physical education and sport including equipment |  |  |  |  | HIGH | No action required | 0
2.5 | Have all risk assessments been reviewed in the last 12 months. |  |  |  | Add date | HIGH | No action required
3 | Health & Safety Training, Information and Communication | [6 empty] | 0
3.1 | All staff have received appropriate training (including Health & Safety induction) & information to enable them to carry out their work activities safely and to carry out their health and safety responsibilities effectively. |  |  |  |  | HIGH | No action required | 0
3.2 | Records of ALL health and safety training for staff are available |  |  |  |  | HIGH | No action required | 0
3.3 | Systems exists for reporting and recording any defects to plant, equipment, machinery, buildings, or hazards from substances or environment. |  |  |  |  | MEDIUM | No action required | 0
3.5 | Managers are familiar with the signing- in procedure for all visitors, and contractors, etc. who visit the establishment. |  |  |  |  | MEDIUM | No action required | 0
3.6 | Suitable arrangements are in place to regularly check the safety of lone workers and those working after hours. |  |  |  |  | MEDIUM | No action required | 0
3.7 | Safety arrangements are communicated to all persons hiring or using premise facilities during or after normal hours. This includes notification of existing hazards, security, fire and first aid arrangements, as well as procedures for the protection of lone workers after normal hours. |  |  |  |  | MEDIUM | No action required | 0
3.8 | All new employees, visitors including contractors, volunteers and young people are made aware of the health and safety arrangements. |  |  |  |  | HIGH | No action required | 0
3.9 | Statutory poster 'Health and Safety Law' is displayed in a prominent position on the premises for the attention of all employees. |  |  |  |  | MEDIUM | No action required
4 | First Aid | [6 empty] | 0
4.1 | Risk assessments have been carried out to identify the first aid requirementsfor the site and activities undertaken. |  |  |  |  | HIGH | No action required | 0
4.2 | Are there sufficient numbers of trained First Aiders/Appointed Persons to enable first aid to be given to employees (pupils/members of the public) if they are injured or become ill at work. |  |  |  |  | HIGH | No action required | 0
4.3 | Sufficient first aid cover is available in the event of First Aiders holidays, sick leave and outside normal hours. |  |  |  |  | HIGH | No action required | 0
4.4 | Procedures are in place to provide first-aid cover for outdoor trips, visits, away from site, etc. |  |  |  |  | MEDIUM | No action required | 0
4.5 | All employees are aware of how to contact a First Aider if required. |  |  |  |  | MEDIUM | No action required | 0
4.6 | A person is appointed for maintaining the contents of the first aid boxes. |  |  |  | Name of Coordinator: | MEDIUM | No action required | 0
4.7 | First Aid boxes are kept in conveniently accessible places throughout the premises. |  |  |  |  | MEDIUM | No action required | 0
4.8 | Notices are displayed advising where First Aid box are located. |  |  |  |  | MEDIUM | No action required | 0
4.9 | All first aid boxes are stocked in accordance with the requirements of current First Aid Regulations. |  |  |  |  | MEDIUM | No action required | 0
4.1 | High risk areas are identified and first aid boxes made available e.g. sports halls, workshops, kitchens, laboratories. |  |  |  |  | MEDIUM | No action required
5 | Medication | [6 empty] | 0
5.1 | Staff are aware of the medical policies associated with their areas. |  |  |  |  | HIGH | No action required | 0
5.2 | Agreement and guidance on administering medication to children, vulnerable adults etc has been sought from the PCT, Occupational Health Adviser or the children’s, person's doctor, as appropriate.(N.B. Further information is available on the intranet and Shropshire Learning Gateway). |  |  |  |  | MEDIUM | No action required | 0
5.3 | Staff have had appropriate training for administering medication. |  |  |  |  | MEDIUM | No action required | 0
5.4 | Medicines are stored appropriately in a secure cabinet |  |  |  |  | MEDIUM | No action required | 0
5.5 | Staff are aware of those who self administer their medication, use an inhaler, are diabetic, use an epipen, etc. |  |  |  |  | MEDIUM | No action required | 0
5.6 | Staff have access to Shropshire Council's Medical Arrangements. Shropshire Learning Gateway (Medical Arrangements in Schools) |  |  |  |  | MEDIUM | No action required
6 | Violence to staff | [6 empty] | 0
6.1 | Incidents of violence to staff are monitored and recorded. See 7.2 |  |  |  |  | HIGH | No action required | 0
6.2 | An assessment has been made of which staff are most vulnerable. |  |  |  |  | MEDIUM | No action required | 0
6.3 | All forms of violence to staff are considered i.e. verbal abuse, rude gestures and sexual or racial harassment. |  |  |  |  | MEDIUM | No action required | 0
6.4 | The police are notified of incidents as appropriate. |  |  |  |  | MEDIUM | No action required | 0
6.5 | Staff are encouraged to report incidents. |  |  |  |  | MEDIUM | No action required | 0
6.6 | The local policy provide support to staff who have been victims ov violence. |  |  |  |  | MEDIUM | No action required | 0
6.7 | Training is given to staff most at risk. |  |  |  |  | HIGH | No action required | 0
6.8 | Records of training are kept. |  |  |  |  | HIGH | No action required | 0
6.9 | There is a system in place for staff to report Hate Crimes? |  |  |  |  | HIGH | No action required
7 | Accidents and Incidents | [6 empty] | 0
7.1 | All accidents and near-miss incidents this year have been duly reported to the Council. |  |  |  |  | LOW | No action required | 0
7.2 | Accidents, incidents and near misses are recorded. (Council operated facilities use ERP (formerley Business World). Others use Corporate Accident Report System (CARS) accident report forms. In addition, schools and academies may use a pupil accident record book |  |  |  |  | LOW | No action required | 0
7.3 | Staff are aware of the procedures for reporting accidents, including those that need to be reported immediately to the Corporate Health and Safety Team at Shirehall. |  |  |  |  | MEDIUM | No action required | 0
7.4 | All accidents are recorded, investigated where necessary and analysed in-house with a view to preventing repetition. |  |  |  |  | MEDIUM | No action required | 0
7.5 | Arrangements are in place to ensure contractors working on the premises, or members of the public including volunteers, will be notified or made aware of emergency procedures in place and to notify the Premise Manager/Headteacher if they are involved in an incident\accident. |  |  |  |  | MEDIUM | No action required
8 | Employee Stress / Well Being Policy | [6 empty] | 0
8.1 | All employees have been made aware of the Councils' Stress or Well Being Guidelines and have had an opportunity to complete the Stress risk assessment if required. |  |  |  |  | MEDIUM | No action required | 0
8.2 | All employees are aware of the support available from the Council’s Counselling Service. |  |  |  |  | MEDIUM | No action required | 0
8.3 | Positive Proactive Action is taken to support the well being of all employees. |  |  |  |  | MEDIUM | No action required
9 | Disclosure and Barring Service Checks (DBS) - Child Protection | [6 empty] | 0
9.1 | All appropriate staff with unsupervised access to children and vulnerable adults have undergone a DBS check. And where necessary the Advanced DBS check. |  |  |  |  | HIGH | No action required
Now Complete Part 2 Buildings
[8 empty] | Low | 0
[8 empty] | Medium | 0
[8 empty] | High | 0

## 5. Part 2 - Buildings
Part 2 - Buildings |  | Yes | No | N/A | If No (Give details of further action taken) | Risk Rating | Suggested timescale for remedial action
Only use a (X) when answering
1 | General Areas internally and externally
1.1 | A member of staff is delegated to monitor the premises and building defects. |  |  |  | NAME of Person: | MEDIUM | No action required | 0
1.2 | The premise has undergone the Safer School initiative. (schools only). |  |  |  | Date of completion: | HIGH | No action required | 0
1.3 | Visual inspection has been made of the buildings interanlly and externally for obvious signs of damage or risk to safety. |  |  |  |  | LOW | No action required | 0
1.4 | Roofs, loose tiles, chimneys, copings etc. are checked. |  |  |  |  | LOW | No action required | 0
1.5 | Guttering and rainwater pipes are checked for blockages. |  |  |  |  | LOW | No action required | 0
1.6 | Television aerials, radio masts and satellite installations are secure. |  |  |  |  | LOW | No action required | 0
1.7 | Windows and frames are in good condition. |  |  |  |  | LOW | No action required | 0
1.8 | Yards, paths and drives are in good condition. |  |  |  |  | LOW | No action required | 0
1.9 | Stairs, steps, balustrades and handrails are in good repair and provided with adequate lighting. |  |  |  |  | MEDIUM | No action required | 0
1.1 | Drain grids, manhole covers and drains are checked for blockages. |  |  |  |  | LOW | No action required | 0
1.11 | Fences and railings are stable and in good condition. |  |  |  |  | LOW | No action required | 0
1.12 | External lighting is satisfactory. |  |  |  |  | LOW | No action required | 0
1.13 | Outbuildings, sheds and greenhouses are in good condition. |  |  |  |  | LOW | No action required | 0
1.14 | There is adequate provision which is properly maintained for disabled persons, i.e. ramps, lift access, emergency facilities. |  |  |  |  | MEDIUM | No action required | 0
1.15 | Documented procedures and risk assessment are in place to mitigate the effects of ice and snow. |  |  |  |  | MEDIUM | No action required | 0
1.16 | Entrances, Gateways/access areas are unobstructed and segregation of vehicles and pedestrians is effective. |  |  |  |  | MEDIUM | No action required | 0
1.17 | There is a good standard of housekeeping and adequate cleaning throughout the premise/area. |  |  |  |  | MEDIUM | No action required | 0
1.18 | Combustible waste is not allowed to accumulate within the premises (including stairwells or under the stairs) and there is an established procedure for its removal at regular intervals. |  |  |  |  | HIGH | No action required | 0
1.19 | Waste bins are regularly emptied into outside metal bins which are locked or kept in a secure area. |  |  |  |  | MEDIUM | No action required | 0
1.2 | The undersides of all temporary structures are screened and are free from accumulations of rubbish, vegetation, and storage. |  |  |  |  | MEDIUM | No action required | 0
1.21 | Doors to boiler house, plant rooms and store rooms are kept locked to prevent unauthorised access. |  |  |  |  | HIGH | No action required | 0
1.22 | Furniture, shelves and fittings are secure against collapse, in sound condition and not damaged in such a way as likely to cause injury e.g. chairs and stools showing obvious of damage or defect are taken out of use or properly repaired. |  |  |  |  | MEDIUM | No action required | 0
1.23 | Areas where safety glazing is necessary have been identified. |  |  |  |  | HIGH | No action required | 0
1.24 | Windows can be opened safely |  |  |  |  | MEDIUM | No action required | 0
1.25 | Windows can be cleaned safely |  |  |  |  | MEDIUM | No action required | 0
1.26 | Window restraints are fitted where high risk has been identified e.g. high level, multi storey building, escapees. |  |  |  |  | LOW | No action required | 0
1.27 | Floors are not excessively slippery, surfaces are in good condition and free from hazards likely to cause slips, trips, and falls. |  |  |  |  | MEDIUM | No action required | 0
1.28 | Floors are kept free from grease, and any water, food, oil or chemical. There are procedures in place for dealing with spillages immediately. |  |  |  |  | MEDIUM | No action required | 0
1.29 | Gangways, corridors and circulation areas are free from refuse and articles causing obstruction. |  |  |  |  | MEDIUM | No action required | 0
1.3 | Matting provided at entrances is in good condition and position correctly. |  |  |  |  | MEDIUM | No action required | 0
1.31 | Automatic door closer devices operate correctly, are regularly checked and serviced. |  |  |  |  | MEDIUM | No action required | 0
1.32 | Finger guards are fitted to doors where necessary (crutial for areas where there are young children). |  |  |  |  | HIGH | No action required | 0
1.33 | There is sufficient workspace (e.g. minimum requirement 11 cubic metres per person). |  |  |  |  | HIGH | No action required | 0
1.34 | Lighting is suitable for the activities taking place and maintained. |  |  |  |  | MEDIUM | No action required | 0
1.35 | Blinds (with appropriate cords) or other means are fitted to control glare. |  |  |  |  | MEDIUM | No action required | 0
1.36 | Heating is sufficient throughout the premise. |  |  |  |  | MEDIUM | No action required | 0
1.37 | A thermometer is available to measure air temperature. |  |  |  |  | MEDIUM | No action required | 0
1.38 | A wholesome supply of drinking water is available and facilities for washing non-disposable cups. |  |  |  |  | MEDIUM | No action required | 0
1.39 | Rest Areas/facilities are available to eat meals and make hot drinks away from public areas. |  |  |  |  | MEDIUM | No action required | 0
1.4 | Facilities are available for pregnant and nursing employees to rest and lie down during workbreaks. |  |  |  |  | MEDIUM | No action required | 0
1.41 | Sufficient Storage is available for storing work clothing and personal protective equipment. |  |  |  |  | MEDIUM | No action required | 0
1.42 | Standard safety signs should be displayed where necessary and easily seen/read e.g. Fire notices and maps, first aid etc. |  |  |  |  | MEDIUM | No action required | 0
1.43 | Staff are encouraged to "spot check" their rooms for any known hazards and report defects. |  |  |  |  | MEDIUM | No action required | 0
1.44 | Complaints from staff regarding noise levels are investigated and noise measurements carried out. (NB: If staff have to shout to be heard within 2 metres of others on a regular basis this needs to be investigated). |  |  |  |  | MEDIUM | No action required | 0
1.45 | Adequate notices prohibiting dogs are displayed around premise ground. |  |  |  |  | MEDIUM | No action required | 0
2 | Control of Contractors | [6 empty] | 0
2.1 | The Business Manager/Caretaker/Site Manager monitors the activities of contractors working on site. Identify the person. |  |  |  | NAME of delegated person: | HIGH | No action required | 0
2.2 | The Premise Manager is aware of and has access to the Council's 'Managing Contactors' Guidance document. |  |  |  |  | MEDIUM | No action required | 0
2.3 | Only approved contractors are used. E.g. CHAS accredited or equivalent. |  |  |  |  | HIGH | No action required | 0
2.4 | Contractors are instructed to report to reception prior to commencing work and read and sign the asbestos register. |  |  |  |  | MEDIUM | No action required | 0
2.5 | The Premise Manager/Headteacher has a clear understanding of the work that is being undertaken. |  |  |  |  | MEDIUM | No action required | 0
2.6 | When work involves roof renewal/repairs or structural remedies/alterations, adjacent areas are cleared and fenced off. |  |  |  |  | MEDIUM | No action required | 0
2.7 | The contractor adheres to safe working procedures as identified in their contract. |  |  |  |  | MEDIUM | No action required | 0
2.8 | Contractors are informed of the fire/emergency arrangements before they start work. |  |  |  |  | MEDIUM | No action required | 0
2.9 | A designated person ensures that any necessary additional fire and safety precautions are taken when contractors are on site. |  |  |  |  | HIGH | No action required | 0
2.1 | Where contractors are working, work areas are suitably fenced to segregate children, young people, visitors and staff. |  |  |  |  | HIGH | No action required | 0
2.11 | There is a permit to work system in place for Hot Work, Confined Spaces, etc. |  |  |  |  | HIGH | No action required | 0
3 | Asbestos (Refer to Occupational Health and Safety Intranet page for further information.)
3.1 | There is an Asbestos Register on the premises with an up-to-date survey with the Asbestos Management Plan (see 3.2) at the front of the file which is always readily available. |  |  |  | DATE of last survey: | HIGH | No action required | 0
3.2 | The Asbestos Management Plan has been developed by the site's responsible person to illustrate how risks from asbestos are managed locally. Asbestos Management Plan Template available on intranet/SLG/H&S Team. |  |  |  |  | HIGH | No action required | 0
3.3 | The Premise Manager/Headteacher and other appropriate staff (Site Manager Caretakers) have been on the Asbestos Awareness training. |  |  |  |  | HIGH | No action required | 0
3.4 | All contractors and others and relevant site staff (Site Manager, Caretaker etc.) have read/understood and signed the Asbestos Register. |  |  |  |  | HIGH | No action required | 0
3.5 | If asbestos is accidentally disturbed, there are arrangements in place to ensure everyone is aware of what to do. See Asbestos Policy. |  |  |  |  | HIGH | No action required | 0
4 | Shared Premises
4.1 | Where premises or site are shared the responsibilities are clear for all building users and everyone understands their role in an emergency situation e.g. school and children services on one site. |  |  |  |  | HIGH | No action required | 0
4.2 | There is co-operation and communication between all building occupants/tenants, e.g. sharing of emergency procedures. |  |  |  |  | HIGH | No action required | 0
4.3 | There is a documented system of regular communication and monitoring in place e.g. minutes of meetings. |  |  |  |  | HIGH | No action required | 0
5 | Fire Precautions
5.1 | A Fire Risk Assessment (FRA) has been undertaken. |  |  |  | DATE FRA undertaken: | HIGH | No action required | 0
5.2 | The Fire Risk Assessment has been reviewed in the last 12 months. |  |  |  | DATE of Review: | HIGH | No action required | 0
5.3 | Who undertook the Fire Risk Assessment Consultant\ Headteacher\Business Mananger |  |  |  | Name: | HIGH | No action required | 0
5.4 | All Employees (including site managers/ caretakers, cleaning, kitchen staff) have appropriate training needs identified e.g. fire wardens, fire safety, use of fire extinguishers and RECORDS are kept. |  |  |  |  | HIGH | No action required | 0
5.5 | All persons on site e.g. staff, visitors, children are aware of the procedure to be followed in the event of fire, bomb threat or other emergency. |  |  |  |  | HIGH | No action required | 0
5.6 | The Fire and Rescue Service is notified of all fires occurring within your establishment and grounds. |  |  |  |  | HIGH | No action required | 0
5.7 | All contractors, visitors, cleaners and kitchen staff are aware of the fire safety measures and what to do in the event of a fire. |  |  |  |  | HIGH | No action required | 0
5.8 | Key fire information is kept at reception to hand over to the emergency services on arrival such as fire risk assessment, plan of site, location of gas/electricity/water mains stop taps, location of hazardous substances. |  |  |  |  | HIGH | No action required | 0
5.9 | Appropriate staff have been identified to undertake Evac Chair training or other means of asssiting those people with special needs, e.g. A Personal Emergency Evacuation Plan undertaken for individuals. |  |  |  |  | HIGH | No action required | 0
5.1 | Fire drills are carried out at least annually or in the case of schools termly. Details are recorded. |  |  |  |  | HIGH | No action required | 0
5.11 | All fire safety maintenance checks e.g. fire fighting equipment, emergency lighting ,fire warning systems/alarms, etc are carried out in accordance to Fire Safety Guidance -Regulatory Reform (Fire Safety) Order and records kept, e.g. testing fire alarms weekly. |  |  |  |  | HIGH | No action required | 0
5.12 | No smoking policy applies to entire site. |  |  |  |  | HIGH | No action required | 0
5.13 | Hanging mobile decorations are appropriately flame retardant, kept to a minimum and are not hung near heat sources. |  |  |  |  | HIGH | No action required | 0
5.14 | Displays in corridors are covered with glass or Perspex and/or are flame retardant. (Kept to a minimum). |  |  |  |  | HIGH | No action required | 0
5.15 | Designated fire exits are clearly marked and kept free from obstruction. Doors can be readily opened in an emergency. |  |  |  |  | HIGH | No action required | 0
5.16 | Where Dorgard door stoppers/sonic door wedges are fitted they are used in accordance with manufacturers instructions (including battery replacements). |  |  |  |  | HIGH | No action required | 0
5.17 | Fire and smoke doors are not wedged or propped open. |  |  |  |  | HIGH | No action required | 0
5.18 | Internal fire doors are undamaged, and self closing mechanisms operate correctly. |  |  |  |  | HIGH | No action required | 0
5.19 | Doors to rooms, storerooms, stairways and corridors are kept closed/locked when not in use and last thing at night. |  |  |  |  | HIGH | No action required | 0
5.2 | All goods are correctly stored away from sources of ignition e.g. light fittings, heaters etc. |  |  |  |  | HIGH | No action required | 0
5.21 | Metal receptacles are fitted to the rear of all letter boxes. |  |  |  |  | MEDIUM | No action required | 0
6 | Security
6.1 | The premise boundary is clearly defined e.g. fencing, hedges, etc. |  |  |  |  | MEDIUM | No action required | 0
6.2 | Visitors are guided to the main entrance by clear signs. |  |  |  |  | MEDIUM | No action required | 0
6.3 | Visitors are asked for identification and are asked to sign in and out. |  |  |  |  | MEDIUM | No action required | 0
6.4 | Staff challenge strangers they see on the premises. |  |  |  |  | MEDIUM | No action required | 0
6.5 | The alarm system is set and unset by designated persons who are trained for the task. |  |  |  |  | MEDIUM | No action required | 0
6.6 | Steps have been taken to prevent easy access to the roof. |  |  |  |  | MEDIUM | No action required | 0
6.7 | There is a proper system to control the issue and return of keys. |  |  |  |  | MEDIUM | No action required | 0
6.8 | Measures are taken to prevent unauthorised entry to the premises during working hours. |  |  |  |  | HIGH | No action required | 0
6.9 | Persons using the premises outside normal hours are briefed on securing the building(s) when they leave where this is not done by the caretaker/site manager. |  |  |  |  | HIGH | No action required | 0
6.1 | Cash holdings are kept to a minimum and arrangements are in place to remove from the premises overnight where possible. |  |  |  |  | HIGH | No action required | 0
6.11 | Attractive and high value items are marked to identify ownership with Smart Water and securely stored when not in use. Storerooms are kept locked. |  |  |  |  | MEDIUM | No action required | 0
6.12 | Employees have been made aware of the need to safeguard personal property e.g. locked drawers/cabintes are provided. |  |  |  |  | MEDIUM | No action required | 0
7 | Electrical Safety
7.1 | There are procedures in place to regularly visually examine fixed and portable electrical appliances in place for damage and check for correct operation. e.g. wall sockets, switches, light fittings. flexible cables, plugs, extension leads and multiple socket extensions are visually checked for obvious signs of deterioration, damage or misuse and maintained in a safe condition. |  |  |  |  | MEDIUM | No action required | 0
7.2 | Procedures are in place for regular maintenance of all fixed and portable equipment Including any theatre lighting and bars e.g. PAT testing of portable appliances undertaken by a competent person and records kept. PAT next test due date ………. /……….……/……….. |  |  |  |  | MEDIUM | No action required | 0
7.3 | Mains isolating switches easily accessible, not obstructed, and locations known by appropriate staff. Function of main switches marked where appropriate. |  |  |  |  | MEDIUM | No action required | 0
7.4 | Staff are aware of the reporting system for reporting faults of fixed and portable electrical appliances.Keep records of reporting. |  |  |  |  | MEDIUM | No action required | 0
7.5 | Electrical equipment, where appropriate, is switched off and unplugged when not in use by a designated person. |  |  |  |  | MEDIUM | No action required | 0
7.6 | Any modifications or alterations to wiring or electrical systems have been carried out by a competent person. (Shropshire Council approved) |  |  |  |  | HIGH | No action required | 0
7.7 | Electrical switch rooms and meter rooms are not obstructed by storage or combustible materials and locked when not in use. |  |  |  |  | HIGH | No action required | 0
7.8 | Where appropriate, emergency lighting is in working order, and service records kept. |  |  |  |  | MEDIUM | No action required | 0
7.9 | Lighting tubes and bulbs are adequately protected against mechanical damage. |  |  |  |  | MEDIUM | No action required | 0
7.1 | Procedures are in place for ensuring lamp diffuser covers are clean, secure & in good order. |  |  |  |  | MEDIUM | No action required | 0
7.11 | Arrangements are in place for safe disposal of old bulbs and tubes. |  |  |  |  | HIGH | No action required | 0
7.12 | Any mains electrical equipment used out of doors or in "wet" areas is protected by a residual current device (RCD). |  |  |  |  | HIGH | No action required | 0
7.13 | Electricity and telephone cables are not placed under carpets or trailing across walking areas. |  |  |  |  | MEDIUM | No action required | 0
7.14 | There are sufficient wall socket outlets and there is no excessive use of extension leads or adapters |  |  |  |  | MEDIUM | No action required | 0
8 | Other Mains Services
8.1 | Instructions are available to deal with gas supply failure and relighting procedure by nominated persons who have received appropriate training. |  |  |  |  | MEDIUM | No action required | 0
8.2 | Records of maintenance, tests, and inspections of gas appliances are kept. |  |  |  |  | LOW | No action required | 0
8.3 | Emergency procedures are in place for situations with main services e.g. gas leak, water, power cut, oil leak etc and are known by staff. |  |  |  |  | HIGH | No action required | 0
8.4 | The locations of gas isolator valves are known to staff, are identified with labels, are readily accessible, and are not obstructed by random storage. |  |  |  |  | MEDIUM | No action required | 0
8.5 | Gas burners, cookers and gas tubing and fittings are checked for correct operation, and for signs of damage and deterioration. |  |  |  |  | MEDIUM | No action required | 0
8.6 | Gas appliances are regularly inspected by an approved 'GAS SAFE' contractor, and any faults rectified. |  |  |  |  | MEDIUM | No action required
8.7 | Water systems maintenance regimes are in place and records kept in the logbook . (Green Compliance) |  |  |  |  | HIGH | No action required | 0
8.8 | Water mains stop taps are accessible, and have been checked for ease of operation. |  |  |  |  | LOW | No action required | 0
9 | Work Equipment - machinery and hand tools (computers, woodwork machines, hoovers etc) Please note that all work places have some work equipment.
9.1 | Staff that use the machines have had appropriate training and refreshers accordingly and records are kept. |  |  |  |  | HIGH | No action required | 0
9.2 | Where necessary, manufacturers' instruction for safe use, operation and maintenance of machines and equipment are available and understood by staff. |  |  |  |  | MEDIUM | No action required | 0
9.3 | Equipment is positioned safely, reasonable working space is provided around each machine to prevent congestion while machine in use e.g. design and technology have demarcation marked on floor around the machines. Also consider noise, heat and other ommissions. |  |  |  |  | MEDIUM | No action required | 0
9.4 | All machines are provided with adequate guarding of dangerous parts in accordance with recognised standards e.g. D&T woodworking machines, photocopiers, gillotines etc. |  |  |  |  | HIGH | No action required | 0
9.5 | Has all machinery got appropriate safety signage displayed e.g. Safety Stops, Eye and Ear Protection. |  |  |  |  | HIGH | No action required | 0
9.6 | Machine isolator switches, starters and emergency stop buttons where fitted are visually examined and tested for correct operation and results recorded. E.g. D&T, kitchens etc. |  |  |  |  | HIGH | No action required | 0
9.7 | All machines are installed in such a way as to prevent unauthorised use. Portable mains powered equipment is inaccessible to children and young people except during times when staff are present. |  |  |  |  | HIGH | No action required | 0
9.8 | No child or young person is allowed into high risk areas e.g. workshops, food technology, arts without adequate supervision. |  |  |  |  | HIGH | No action required | 0
9.9 | Privately owned machinery or equipment used on the premises is mechanically sound and PAT tested. |  |  |  | Last PAT test date: | MEDIUM | No action required | 0
9.1 | All hand tools are visually checked and are in good condition. Tools with sharp edges are correctly stored, with edges protected where necessary. |  |  |  |  | LOW | No action required | 0
9.11 | Where visual display screens are used, suitable desks of the correct height and fully adjustable chairs are provided for staff. (N.B. DSE risk assessments are undertaken for each member of staff). |  |  |  |  | MEDIUM | No action required | 0
10 | Ladder and Access Equipment
10.1 | All ladders and stepladders at work are Class 1 (Industrial) or Class 2 now replaced by BS EN 131. (DO NOT use Class 3 - Domestic). |  |  |  |  | HIGH | No action required | 0
10.2 | All ladders and step ladders are in good condition, with no obvious damage or faults which could give rise to danger in use and staff are instructed to check before each use. |  |  |  |  | HIGH | No action required | 0
10.3 | All ladders and step ladders are inspected on a formal basis e.g. checked at least annually by a competent person and this is recorded in the ladder register. |  |  |  |  | HIGH | No action required | 0
10.4 | Persons using ladders and similar access equipment have received appropriate training e.g.PASMA and understand the limitations on use. |  |  |  |  | HIGH | No action required | 0
10.5 | Ladders and steps are not painted (so as to hide defects in the timbers), and any home-made or makeshift ladders have been disposed of. |  |  |  |  | MEDIUM | No action required | 0
10.6 | Scaffold and other access towers are in good condition. Working platforms, guard rails and toe boards are complete. Wheel locks and other safety devices are in good working order. Instructions on safe erection and use are available, and staff using them, are aware of correct procedures. Children and young people are not allowed to use access towers except under close supervision. |  |  |  |  | MEDIUM | No action required | 0
11 | Lifting Equipment and Pressure Vessels ***PLEASE SEE NOTE TO RIGHT*** | Pressure Vessels: Double click here to see what falls into this category Heating and hot water generation plant in boiler rooms can fall under this remit - PSG can advise https://www.hse.gov.uk/pubns/priced/l122.pdf Autoclaves; Pressure Cookers; Model Steam Engines - https://science.cleapss.org.uk/Resource/G214a-Examining-autoclaves-pressure-cookers-and-model-steam-engines-Guidance-for-employers.pdf Pneumatic Equipment and Compressed Air - https://dt.cleapss.org.uk/Resource-File/MRAT-063-Pneumatics-Equipment-and-Compressed-Air.pdf
11.1 | All pressure vessels and items of lifting equipment e.g. lifts, lifting aids, slings, etc. are inspected and maintained by the Council Engineering Insurance Surveyor in accordance with statutory requirements. |  |  |  |  | HIGH | No action required | 0
11.2 | Maintenance and inspection records including USER checks are kept on site. |  |  |  |  | HIGH | No action required | 0
11.3 | Any items subject to such inspection, and recently acquired or disposed of, have been notified to the LA for addition to or deletion from the Insurer's schedule. |  |  |  |  | MEDIUM | No action required | 0
11.4 | All items of lifting equipment, including lighting gantries, are clearly marked with their Safe Working Load, and are stored correctly so as to avoid the likelihood of damage. |  |  |  |  | MEDIUM | No action required | 0
11.5 | All air receivers, steam receivers and similar pressure vessels are marked with the safe working pressure, and any pressure gauges fitted are in working order. |  |  |  |  | MEDIUM | No action required | 0
11.6 | Copies of Engineer's reports are kept on the premises. |  |  |  |  | LOW | No action required | 0
12 | Heating Systems
12.1 | Oil storage tanks and pipework have been checked for leaks, and any defects reported. |  |  |  |  | MEDIUM | No action required | 0
12.2 | Boiler flues and chimneys are kept clean in accordance with the Council's maintenance recommendations. |  |  |  |  | MEDIUM | No action required | 0
12.3 | Filters in fan-assisted heating systems are cleaned at least once per year in general areas and more frequently in craft and pottery areas where dust is generated. |  |  |  |  | MEDIUM | No action required | 0
12.4 | Electric convector heaters are kept clear of obstruction. Combustible materials are kept at least one metre away, and airways are free of deposits of dust and fluff. Authorisation may be required to use them in the workplace.(n.b. Authorisation to use on site maybe required). |  |  |  |  | MEDIUM | No action required | 0
12.5 | All radiant heaters and excessively hot pipes and flues are guarded where appropriate. |  |  |  |  | MEDIUM | No action required | 0
12.6 | Radiator valve spindles are not exposed. |  |  |  |  | MEDIUM | No action required | 0
12.7 | Boiler houses are kept clean and tidy, and are not used for the storage of flammable substances or combustible materials. |  |  |  |  | MEDIUM | No action required | 0
12.8 | Portable LP Gas containers are only used for emergency heating, and in workshops, and heaters containing gas cylinders are not kept inside the premises or in basement areas when not in use. Any spare gas cylinders are stored in a safe well ventilated place, preferably in the open air, secure from tampering and vandalism. |  |  |  |  | MEDIUM | No action required | 0
13 | Ventilation and Dust/Fume Extraction
13.1 | The working atmosphere is satisfactory, and every office/workroom is provided with a suitable form of ventilation. |  |  |  |  | MEDIUM | No action required | 0
13.2 | Where mechanical ventilation is provided to any work area, the fans are in working order and any grilles or filters are clean and working efficiently. |  |  |  |  | MEDIUM | No action required | 0
13.3 | Copying and printing machinery is sited in an adequately ventilated area. Any mechanical ventilation is working efficiently. |  |  |  |  | MEDIUM | No action required | 0
13.4 | Is eating and drinking prohibited in photocopying rooms and print units, or where any work with chemical substances is carried out. Are signs displayed? |  |  |  |  | MEDIUM | No action required | 0
13.5 | In pottery areas, working surfaces and equipment are washed after each use, before clay dries out allowing dust to form. Surfaces are cleaned using a wet method to reduce the risk of dust generation. |  |  |  |  | MEDIUM | No action required | 0
14 | Hazardous Substances
14.1 | All hazardous substances, such as those identified as flammable, corrosive, toxic, harmful, irritant, oxidising, radioactive or biological agents, which may cause infection, allergy, toxicity or otherwise create a hazard to human health, are correctly labelled and stored according to manufacturers’ or suppliers’ recommendations. |  |  |  |  | HIGH | No action required | 0
14.2 | COSHH assessments (N.B. Not Safety Data Sheets) have been undertaken for all hazardous substances used or generated, and a system of recording assessments has been put in place for all work with hazardous substances as required by the COSHH Regulations. Information is readily available for all staff including caretakers/site managers/cleaning and catering staff on substances used at work. |  |  |  |  | HIGH | No action required | 0
14.3 | Staff been provided with training and information on hazardous substances |  |  |  |  | HIGH | No action required | 0
14.4 | Suitable provision has been provided for purchase, use and storage of hazardous substances. |  |  |  |  | HIGH | No action required | 0
14.5 | All chemical substances are kept in appropriate and clearly labelled containers and stored in a secure/locked store. |  |  |  |  | HIGH | No action required | 0
14.6 | Highly flammable substances are kept in a metal cabinet or bin, up to a maximum total of 5 litres in any workroom. |  |  |  |  | MEDIUM | No action required | 0
14.7 | Other flammable substances are kept in a cool place away from ignition sources. |  |  |  |  | HIGH | No action required | 0
14.8 | Petroleum spirit with a flashpoint of less than 23°C is not kept anywhere on the premises unless a comprehensive risk assessment has been completed (requirement under DSEAR (Dangerous Substances and Explosive Atmosphere Regulations). A license will be required if the petroleum is being dispensed e.g. petrol stations. N.B. Fuel for the ground-staff equipment must be taken into account. |  |  |  |  | HIGH | No action required | 0
14.9 | Is the premise licenced to purchase industrial methylated spirit (normally secondary school - science). |  |  |  |  | HIGH | No action required | 0
15 | Legionella / Biological Hazards/ Animals
15.1 | Duty Holder familiar with on-site water services logbook, which includes: risk assessment, Schematic Drawings and details of remedial work. |  |  |  |  | HIGH | No action required | 0
15.2 | Weekly and monthly monitoring test are carried out, records electronically updated and recorded on site. |  |  |  |  | HIGH | No action required
15.3 | Any Non-compliant temperatures recorded? Actions taken? |  |  |  |  | HIGH | No action required
15.4 | Are infrequently used (not used at least once a week) outlets flushed for several minutes on a weekly basis (recorded)e.g. showers, outside taps, outlets in disabled facilities, outlets in outbuildings |  |  |  |  | HIGH | No action required
15.5 | Flushing of all WCs, with lids closed, following system shutdowns and holiday periods of over one week’s duration. |  |  |  |  | HIGH | No action required
15.6 | Aware of Legionella Policy and Guidance. |  |  |  |  | HIGH | No action required
15.7 | Has a risk assessment been undertaken for contact with blood/bodily fluids and procedures in place for cleaning up and disposal of these. (In low risk environments this can be part of first aid procedures e.g. spills kit). |  |  |  |  | HIGH | No action required | 0
15.8 | The introduction into the premises of wild mammals and birds is discouraged. Any animals brought in are to be obtained from reliable sources, and are from disease-free stock. |  |  |  |  | MEDIUM | No action required | 0
15.9 | All biological/microbiological materials should be purchased from an approved supplier (Schools can refer to CLEAPSS guidelines - Schools Advisory Service). |  |  |  |  | MEDIUM | No action required | 0
16 | Protective Clothing & Equipment
16.1 | personal clothing and equipments is assessed for suitability, compatibility, stored appropriately, replaced when necessary and free from contamination e.g. dust. |  |  |  |  | MEDIUM | No action required | 0
16.2 | Suitable gloves, aprons, safety boots or shoes, and other appropriate items of protective clothing are available when required (identified in the risk assessment and only used as a last resort). |  |  |  |  | MEDIUM | No action required | 0
16.3 | Reasonable standards of dress consistent with safety and hygiene are available wherever these considerations arise (e.g. working in catering). |  |  |  |  | MEDIUM | No action required | 0
17 | Play areas
17.1 | Arrangements are in place for an annual inspection of all outdoor play equipment carried out by an independent suitably qualified body such as RoSPA. |  |  |  | Date of inspection: | HIGH | No action required | 0
17.2 | Arrangements are in place for an annual inspection of all soft indoor play equipment carried out by an independent suitably qualified body such as RoSPA. |  |  |  | Date of inspection: | HIGH | No action required | 0
17.3 | Any outdoor play equipment has been regularly examined for obvious defects, wear and tear, rusting or sharp edges, projecting pins or bolts and security of fixing. Moving parts and joints have been lubricated where necessary. Safety surfaces are regularly maintained. (daily, weekly, quarterly). |  |  |  |  | MEDIUM | No action required | 0
17.4 | Play areas are suitably segregated from areas where vehicles are parked to ensure maximum safety to pedestrians when vehicles are being moved. |  |  |  |  | HIGH | No action required | 0
17.5 | Nature study and pond areas are adequately secured against unsupervised access. |  |  |  |  | MEDIUM | No action required | 0
18 | Caretaking and Cleaning
18.1 | A member of staff is delegated to monitor caretaking and cleaning arrangements in the premises. e.g Site Manager/Business Manager. |  |  |  | Name of delgated person: | MEDIUM | No action required | 0
18.2 | Risk assessments have been carried out for premise operations e.g. changing light bulbs, gritting external pathways,roads, litter picking, changing light bulbs, etc. |  |  |  |  | MEDIUM | No action required | 0
18.3 | Cleaners, site managers/caretakers are trained in the use of their plant, equipment, and substances. |  |  |  |  | MEDIUM | No action required | 0
18.4 | COSHH assessments for cleaning and caretaking substances have been carried out. |  |  |  |  | MEDIUM | No action required | 0
18.5 | Storage arrangements are adequate for chemicals and equipment etc. |  |  |  |  | MEDIUM | No action required | 0
18.6 | Cleaners and site manager/caretakers are provided with sufficient personal protective equipment of the correct type. |  |  |  |  | MEDIUM | No action required | 0
18.7 | There are clear procedures for the repair and maintenance of plant and equipment and recorda are kept. |  |  |  |  | MEDIUM | No action required | 0
18.8 | The Site Manager/Caretaker maintains a close liaison with contractors on site. Ensuring they sign the Asbestos Register, Permit to work as required. |  |  |  |  | MEDIUM | No action required | 0
19 | Washrooms, Changing Facilities
19.1 | Suitable and sufficient lavatory and washroom facilities are provided, and maintained in a clean, sanitary and efficient condition. |  |  |  |  | MEDIUM | No action required | 0
19.2 | Adequate ventilation exists in these areas. |  |  |  |  | LOW | No action required | 0
19.3 | The facilities are well lit? |  |  |  |  | MEDIUM | No action required | 0
19.4 | Soap and towels or hand drying facilities are provided, and towel waste does not accumulate. |  |  |  |  | LOW | No action required | 0
19.5 | Hot and cold running water is available. Hot water delivery points are checked for correct temperature, to prevent scalding or temperature maintained valves (TMVs) are fitted. |  |  |  |  | MEDIUM | No action required | 0
19.6 | Shower rooms and changing areas are clean, tidy and disinfected, and showers and foot baths are in working order. See section 14.2 Legionella arrangements. |  |  |  |  | LOW | No action required | 0
20 | Hydrotherapy/Swimming Pool
20.1 | Pool staff are trained in, and understand, pool operating and safety procedures. |  |  |  |  | HIGH | No action required | 0
20.2 | Lifeguards and poolside carers are sufficient in number, adequately trained, and effectively organised and supervised. |  |  |  |  | HIGH | No action required | 0
20.3 | All lifeguards hold a current lifesaving qualification from an approved training organisation. |  |  |  |  | HIGH | No action required | 0
20.4 | An assessment has been made of the maximum number of swimmers/bathers to be admitted to the pool at any one time. |  |  |  |  | MEDIUM | No action required | 0
20.5 | Effective measures (eg physical barriers, supervision, or both) are taken to prevent unauthorised access to the pool when it is not in use. |  |  |  |  | HIGH | No action required | 0
20.6 | There are clear notices/signage indicating the depth of water. |  |  |  |  | MEDIUM | No action required | 0
20.7 | Pool hirers are given copies of the normal operating and emergency procedures. |  |  |  |  | HIGH | No action required | 0
20.8 | Fixed electrical installations in the pool area are inspected and tested in accordance with the 16th Edition of the IEE Regulations for Electrical Installations at least annually (this is necessary because of the wet and corrosive conditions met around pools). |  |  |  |  | HIGH | No action required | 0
20.9 | Storage for pool treatment chemicals is clearly marked, secure from unauthorised access, and is adequately ventilated to the open air. Where adequate natural ventilation is not reasonably practicable, mechanical ventilation is installed. |  |  |  |  | MEDIUM | No action required | 0
20.1 | Chemicals are not stored in direct sunlight or adjacent to hot pipework or plant. |  |  |  |  | MEDIUM | No action required | 0
20.11 | Different chemicals are effectively segregated so as to avoid interaction in the event of leakage. |  |  |  |  | MEDIUM | No action required | 0
20.12 | COSHH assessments for pool chemicals have been carried out and are available at the point of use. |  |  |  |  | MEDIUM | No action required | 0
20.13 | Employees handling chemicals or operating plant are adequately trained for the particular plant in use, its' hazards, and in the substances used. |  |  |  |  | MEDIUM | No action required | 0
20.14 | Protective clothing and equipment, appropriate to the plant and chemicals, is available for use during delivery and handling of chemicals and materials, cleaning, and maintenance, e.g. impervious boots, impervious aprons, impervious gauntlets, eye protection, and respirators. Employees are trained in its use. |  |  |  |  | MEDIUM | No action required | 0
20.15 | Water quality is monitored regularly. Records of all test results are monitored and maintained for inspection. |  |  |  |  | MEDIUM | No action required | 0
21 | Food Hygiene
21.1 | Work surfaces, storage areas, shelving and other furnishings in areas where food is handled or stored are in good condition, with surfaces which are capable of being easily cleaned. |  |  |  |  | MEDIUM | No action required | 0
21.2 | Staff, children and young people working with food items are aware of the need for cleanliness and good personal hygiene when handling food and have appropriate food hygiene qualifications. |  |  |  |  | MEDIUM | No action required | 0
21.3 | First Aid materials in food areas include the provision of waterproof dressings, preferably of the blue detectable type. |  |  |  |  | MEDIUM | No action required | 0
21.4 | Any spillages, breakages are promptly cleared away. |  |  |  |  | MEDIUM | No action required | 0
21.5 | Sterilising units are covered when not in use. |  |  |  |  | MEDIUM | No action required | 0
21.6 | Knives are stored appropriately eg locked cupboard |  |  |  |  | HIGH | No action required | 0
22 | Transport ( Personal, Mini buses, private vehicles etc)
22.1 | All Drivers are aware of the driver’s policy. |  |  |  |  | HIGH | No action required | 0
22.2 | All vehicles have a valid and current MOT certificate, valid and appropriate insurance cover, and a valid and current vehicle excise licence. |  |  |  |  | HIGH | No action required | 0
22.3 | All vehicles are mechanically sound and are serviced in accordance with manufacturers recommendations. |  |  |  |  | HIGH | No action required | 0
22.4 | Drivers who drive the minibus under the operators licence hold the appropriate category D1 or DI PCV on their licence which is valid and current. |  |  |  |  | HIGH | No action required | 0
22.5 | Drivers driving a minibus under section 19 hold the appropriate category D1(101) on their licence which is valid and current. |  |  |  |  | HIGH | No action required | 0
22.6 | Drivers are wholly familiar with and competent to handle any vehicle they may be asked to drive. |  |  |  |  | HIGH | No action required | 0
22.7 | Minibus Drivers inspect vehicles before use:- lights, horn, indicators and stop lights, brakes, windscreen washers and wipers, tyres for inflation and condition (i.e. cuts, tread, depth, etc) and wheel nuts for tightness, engine oil, fuel, and water, reflectors, and vehicle body for damage likely to cause injury, and condition of seat belts. Checks are recorded. See 22.8. |  |  |  |  | HIGH | No action required | 0
22.8 | If any of the above in 22.7 require attention, defects are noted and the vehicle withdrawn from service until they have been rectified. |  |  |  |  | HIGH | No action required | 0
22.9 | Does the minibus have a Section 19 permit or operators licence disc displayed in the windscreen |  |  |  |  | HIGH | No action required | 0
22.1 | Drivers comply with the Regulations governing drivers hours. |  |  |  |  | HIGH | No action required | 0
22.11 | Routes are planned and drivers are briefed before each journey. |  |  |  |  | HIGH | No action required | 0
22.12 | Details of planned routes are lodged in the school office. |  |  |  |  | HIGH | No action required | 0
22.13 | Co-drivers are provided for long journeys |  |  |  |  | HIGH | No action required | 0
22.14 | Staff, children, young people and volunteers are familiar with vehicle evacuation routines. |  |  |  |  | HIGH | No action required | 0
22.15 | Drivers are aware of vehicle limits with regard to overloading. Must be aware of max weight load. |  |  |  |  | HIGH | No action required | 0
22.16 | Drivers are aware of the new seat belt rules e.g. The driver is responsible for ensuring that all children aged from 3 to 12 years old (or up to 135cm, whichever they reach first) who are travelling in the front and back of a vehicle are restrained using the correct child restraints. |  |  |  |  | HIGH | No action required | 0
23 | Visits, Journeys and Activities
23.1 | All visits and journeys undertaken must follow the Council’s written guidance i.e. Guidelines for Educational Visits and Journeys available on Shropshire Learning Gateway. |  |  |  |  | HIGH | No action required | 0
23.2 | Pre-visits are carried out to make an informed decision concerning the adequacy of provisions to ensure that there are no risks to health and safety. |  |  |  |  | HIGH | No action required | 0
23.3 | (Schools/Youth Service only) should have access to a trained Educational Visits Co-ordinator (EVC) or delegated person. |  |  |  |  | HIGH | No action required | 0
23.4 | The party leader is trained and competent in the activities involved. |  |  |  |  | HIGH | No action required | 0
24 | Physical Education and Sport
24.1 | A member of staff is delegated to monitor health and safety matters in the department and ensure that the following guidance https://www.afpe.org.uk/physical-education/safe-practice-in-physical-education-school-sport-and-physical-activity/ is followed. Schools are advised to become members of afPE in order to keep up to date with the latest nationally recognised guidance. To become a member please see https://www.afpe.org.uk/physical-education/wp-content/uploads/afPE-School-Membership-Form-2020-2021.pdf |  |  |  |  | MEDIUM | No action required | 0
24.2 | Risk assessments have been carried out involving use of equipment/activities, (i.e. gymnastics and in particular, outdoor pursuits). |  |  |  |  | MEDIUM | No action required | 0
24.3 | Correct lifting and carrying procedures are followed. (Manual Handling Assessments have been carried out as necessary). |  |  |  |  | MEDIUM | No action required | 0
24.4 | Adequate storage arrangements are available for equipment including flame resistant cupboard for gym mats. |  |  |  |  | MEDIUM | No action required | 0
24.5 | There are sufficient safety mats available of non-slip type. |  |  |  |  | MEDIUM | No action required | 0
24.6 | Halls are free of dangerous projections where running and ball games are played. |  |  |  |  | MEDIUM | No action required | 0
24.7 | Free standing goal posts have been checked for stability and are secure. |  |  |  |  | MEDIUM | No action required | 0
24.8 | The equipment is inspected on an annual basis by Sport Fix and records are kept. |  |  |  |  | MEDIUM | No action required | 0
MANAGERS NOW COMPLETE YOUR ACTION PLAN AND VIEW YOUR RESULTS
[8 empty] | Low | 0
[8 empty] | medium | 0
[8 empty] | High | 0

## 6. Results
Name of Team / Premises
Date
Self Monitoring Scoring Grid Overall Scores
| Part 1 |  |  | Part 2
| High | Medium | Low | High | Medium | Low
Score | 0 | 0 | 0 | 0 | 0 | 0
(Max Score) | 45 | 38 | 2 | 105 | 125 | 20
Result | 45 | 38 | 2 | 105 | 125 | 20
Percentage | 100% | 100% | 100% | 100% | 100% | 100%
0 - 44% = The lower the percentage score the Higher the Risk (Red) and any action required must be taken immediately
45 - 74% = Depending on where the percentage score comes in this range will be the criteria to work out what a reasonable amount of time is. The lower the score the sooner action must be taken. The higher the score will give more flexibility within the recommended 1 - 3 months period.
75 -100% = The higher the percentage score the Lower the Risk (Green) but it is important to monitor or deal with the situation within 6-12 months
Further detail of the scoring system can be found in section 2. Procedure Guidance

## 7. Action Plan
Service Area:
Premise Name
Date
Self Monitoring Action Plan
Contact the Health and Safety Team 01743 252819. If you require any assistance or clarification in completing the SMC
Section No's identified | Remedial actions to be taken | Risk Rating (Highest risk prioritised) | Responsible Person | Timescale (Date) | Date Completed