| Outline of activity or task to be assessed: RISK ASSESSMENT |  |  |  | Form No |  |
| --- | --- | --- | --- | --- | --- |
| Group/Service Area: |  | Work Activity | CARETAKING DUTIES |  |  |
| Workplace/Team | This is an example of what needs to be covered, please delete/amend as required for a specific premise |  |  |  |  |
| Date of Assessment: |  | Date for Re-assessment |  |  |  |
| Name of Assessors: |  | Signature: |  |  |  |
| Manager/Headteacher: |  | Signature: |  |  |  |

Building and fittings maintenance, Minor repairs or installation, Arranging contractors,

Cleaning duties, Clearing waste/graffiti, Management of premises, Security, Controlling access to rooms (N.B. for high risk and complex activities a separate risk assessment may be required).

| Hazard is something with the potential to cause harm. Risk is the likelihood of someone being hurt multiplied by the severity of the occurrence. Level of risk = likelihood x severity B. Risk Matrix – This section is used for guidance to complete section C. |  |  |  |  |  |  |  | PRIORITY OF ACTION High 17 - 25 Unacceptable – Stop work or activity until immediate improvements can be made. Medium 10 – 16 Tolerable but need to improve within a reasonable timescale, e.g., 1-3 months depending on the situation. Low 5 - 9 Adequate but look to improve by next review. Very Low 1 – 4 Residual risk acceptable and no further action will be required all the time the control measures are maintained. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 x 5 RISK ASSESSMENT MATRIX |  |  |  |  |  |  |  |  |
| Increasing consequence or severity  | 5 | 5 low | 10 med | 15 med | 20 high | 25 high |  |  |
|  | 4 | 4 very low | 8 low | 12 med | 16 med | 20 high |  |  |
|  | 3 | 3 very low | 6 low | 9 low | 12 med | 15 med |  |  |
|  | 2 | 2 very low | 4 very low | 6 low | 8 low | 10 med |  |  |
|  | 1 | 1 very low | 2 very low | 3 very low | 4 very low | 5 low |  |  |
|  |  | 1 | 2 | 3 | 4 | 5 |  |  |
|  |  | Increasing likelihood or probability  |  |  |  |  |  |  |

Score

5

4

3

2

1

Likelihood / Probability

Very likely / Almost certain

Likely

Fairly likely / Possible

Unlikely

Very unlikely

Description

Event is expected to occur in most circumstances

Event will probably occur in most circumstances

Event could occur at some time

Event is not likely to occur in normal circumstances

Event may occur only in exceptional circumstances

Score

5

4

3

2

1

Consequence/Severity

Catastrophic / Severe / Fatality

Major injury / ill health

Moderate (over 7-day injury)

Minor injury / ill health

Insignificant / no injury

Description

Death or permanent disability to one or more persons

Hospital admission required, eg, broken arm or leg

Medical treatment required, over 7-day injury

First aid is required

Injuries not requiring first aid treatment

C. Use information from section B to identify level of risk for each hazard

| What are the Hazards? |  | Who might be harmed | What are you already doing (Existing Controls) | Risk Level Low/ Med/ High | What further actions are necessary | Residual Risk Level Low/Med/ High | Action |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | and how the hazard could cause harm |  |  |  |  | Who | When |
| 1 | General lifting and carrying | Caretaker, Site Manager Other staff Pupils Visitors | - Specific manual handling assessment carried out for all one-off tasks presenting significant risk / for individuals with medical conditions etc. - Manual handling minimised as far as possible, broken down into smaller loads / assistance sought. - Made aware of correct lifting techniques to reduce risk of injury. - Appropriate footwear worn - Mechanical lifting aids available (trolleys etc.) - Good housekeeping and workplace layout. - Heavy items stored at waist level. - Floor surfaces unobstructed and slip free |  |  |  |  | . |
|  |  | Cuts/abrasions, muscular skeletal and other physical injuries |  |  |  |  |  |  |
| 2 | Cleaning using heavy equipment e.g. floor buffer, vacuum cleaner | Caretaker, Site Manager Other staff Pupils Visitors | - Manual Handling Assessment carried out for use of floor buffer etc. - Training given in correct procedure for use of such equipment - Refreshed regularly - Area cordoned off to prevent others walking on wet floors/tripping over cables Electrical safety refer to No 5 |  |  |  |  |  |
|  |  | Cuts/abrasions, muscular skeletal and other physical injuries |  |  |  |  |  |  |
| 3 | Use of hand /power tools (drills, wood cutting equipment, hedge cutters, strimmers, etc.) | Caretaker, Site Manager Other staff Pupils Visitors | Where there is a significant risk then ensure that a specific work equipment risk assessment is carried out. - Machinery maintained in good condition - Any formal servicing / inspection requirements identified, pre-use check conducted by user. - Any specific training / instruction requirements identified and provided. - Equipment is appropriate (being used for its intended purpose), restricted to authorised users, area cordoned off when machines are being operated and securely stored. - Tools/blades kept sharp and in good condition - Work and cutter guards in place. - Suitable personal protective equipment (PPE) available to users as required (e.g. eye, hearing protection, boots and overalls) - All items of PPE stored carefully, kept clean (not open to potential contaminant) and readily available. - For machine operations producing large quantity of dust / fume appropriate RPE (respiratory protective equipment) may be required. - Long hair must be tied back; jewellery should be removed or covered and loose clothing covered by a secure apron or overall. |  |  |  |  |  |
|  |  | Electric shocks/burns Cuts/abrasions Impact injury Entanglement with rotating parts Inhalation of dust/fume Irritation to eyes, nose and upper respiratory tract Skin sensitisation/ disorders |  |  |  |  |  |  |
| 4 | Noise/ vibration from equipment e.g. sanding machines, leaf blowers | Caretaker, Site Manager Other site staff | - Noise/ vibration level from machinery known and displayed. - Limit exposure times to employees. - Where practical keep others away from the machines while operating to minimise their noise exposure. - Personal protective equipment issued e.g. ear defenders. - Limited/minimal use of vibrating equipment. - Health surveillance is offered to staff who are known to use these machines for long periods of time. |  |  |  |  |  |
|  |  | Hearing damage, circulatory problems e.g. white finger syndrome, miscommunication, stress |  |  |  |  |  |  |
| 5 | Use of electrical equipment | Caretaker, Site Manager Other site staff Other staff Visitors | - Pre-use check conducted by users - Electrical equipment subject to regular safety inspection and test ('PAT testing') - Sufficient outlets to support the range of equipment normally used. Use extension leads and adaptors only where necessary. - Mains powered portable equipment to be protected by RCD in higher risk situations, e.g., equipment used outside or in wet conditions, and for equipment where there is a risk of cables being severed. - System for reporting faults and taking equipment out of service in place - Secured when not in use. - Only authorized personal to use. - Use when area is not being used - Ensure leads/cables are not put across corridors pathways to prevent others tripping/falling. |  |  |  |  |  |
|  |  | Electrical shock Burns Fire Power leads present a tripping hazard (Cuts/abrasions, muscular skeletal and other physical injuries) |  |  |  |  |  |  |
| 6 | Using chemicals e.g. paints, solvents, greases, oils, cleaning materials, pesticides | Caretaker, Site Manager Other staff Pupils Visitors | - Less hazardous chemicals used wherever possible. - Material Safety Data Sheet for substances obtained from supplier and guidance followed. - COSHH Assessment completed for all hazardous chemicals and control measures implemented. - Appropriate Personal Protective Equipment (e.g. gloves, goggles etc.) provided and worn where identified in COSHH assessment. - All containers are clearly labelled. - Chemicals stored appropriately, access restricted. - No mixing of chemicals. - Activities undertaken outside of school hours where possible. - Immediate cleaning up of any spillage. |  |  |  |  |  |
|  |  | Irritation/harm to eyes, nose and upper respiratory tract Skin sensitisation/ disorders Poisoning Burns |  |  |  |  |  |  |
| 7 | Repair / maintenance Damage to asbestos containing material releasing fibres into the atmosphere | Caretaker, Site Manager Other staff Pupils Visitors | - Check site asbestos register for the location of asbestos containing material prior to undertaking any work on the fabric of the building - Sign the register as necessary to confirm it has been referred to. - Permission to work to be completed for any work on fabric of the building. - All site staff to be aware of location of ACM’s remaining on site. - Where there is any doubt about whether a substance or structure may contain asbestos, then no work can be undertaken. Contact Property Services – School Building Surveyor. - Attend Asbestos awareness training and refresh regularly. |  |  |  |  |  |
|  |  | Asbestosis, mesothelioma, pleural thickening lung cancer |  |  |  |  |  |  |
| 8 | Exposure to sharps e.g. glass, discarded needles, whilst cleaning school site | Caretaker, Site Manager Other staff Pupils Visitors | - Pre- cleaning general inspection to identify areas of risk e.g. broken glass, syringes. - Suitable equipment available is available e.g. gripper. - Safe disposal procedures. - Personal protective equipment e.g. gloves when retrieving items or collecting rubbish. |  |  |  |  |  |
|  |  | Puncture injuries, cuts, infection |  |  |  |  |  |  |
| 9 | Work at height | Caretaker, Site Manager Other staff Pupils Visitors | - See HSE Work at Height and FAQ's for details - All access equipment suitable for purpose, checked before use and maintained in good condition. - A ladder register is available and all ladders are itemised. - Frequent documented checks are made to ensure equipment in good condition (termly). - User trained in use of ladders for minor inspection/maintenance tasks. Refreshed as necessary. - Floor surfaces suitable (firm and even surface). - Area cordoned off to protect others. - No lone working. |  |  |  |  |  |
|  |  | Fractures, bruises, cuts from objects falling, concussion, vertigo or dizziness resulting in falls |  |  |  |  |  |  |
| 10 | Lone working – locking/ unlocking building | Caretaker, Site Manager Other site staff | - Lone working is avoided where practicable. - Ensure there is adequate lighting. If possible follow different procedure daily. - Building locked down as soon as possible at end of school day. - On site security system, controlled access to building e.g. through coded doors etc. - Use of visitor badges / signing in book - Challenging unknown visitors where safe to do so. - Key holders should be strictly controlled and numbers kept to a minimum. - Mobile phone carried |  |  |  |  |  |
|  |  | Accident/injury, Physical assault, delayed assistance in emergency Cuts/abrasions, muscular skeletal and other physical injuries |  |  |  |  |  |  |
| 11 | Lone working - working in school alone in isolated locations | Caretaker, Site Manager Other site staff | - Lone working is avoided where practicable. - Only agreed risk tasks to be undertaken, avoid high risk activities (e.g. working at height); - Mobile phone carried - Notify staff on site of location / estimated duration of task if working on site remote from others. - Reduce time spent working alone so far as is reasonably practicable. - Notify line manager of start time and when finished. |  |  |  |  |  |
|  |  | Accident/injury, delayed assistance in emergency Cuts/abrasions, muscular skeletal and other physical injuries. |  |  |  |  |  |  |
| 12 | Responding to intruder alarm holiday periods / out of hours | Caretaker, Site Manager, site staff Headteacher | - Security company is employed to respond to call outs (TAYBAR). - Lone working is avoided where practicable. - Await for support before entering the premises. - Carry mobile phone to call for help. - Before entering the grounds, notify someone of the situation, and the intention to investigate. - Make regular calls to those notified above to update them as to the situation. - If a break-in has occurred, do not attempt to enter the premises until the police arrive. - If confronted by intruder(s) before the police arrive, do not attempt to tackle or restrain them. - Restraining of intruders should be left to the police who are trained in dealing with such situations. |  |  |  |  |  |
|  |  | Accident/injury, Physical assault, delayed assistance in emergency Cuts/abrasions, muscular skeletal and other physical injuries |  |  |  |  |  |  |

This list is not exhaustive if more hazards are identified please add more boxes

D. Safe Systems of Work to be outlined below by using the information in Section C once completed: - Separate risk assessments will be undertaken for high risk/complex tasks identified e.g. changing lighting tubes at high level, painting/decorating large sports hall may require a scaffold tower, staff will require specialist training e.g. PASMA. - The supporting guidance documents in the health and safety policy must be referred before undertaken the task identified in this risk assessment. - Staff training will be identified from the risk assessment for the task to ensure they can work safely. - Training records will be kept on a central database and reviewed and monitored regularly. - Controls are implemented on purchasing machines and equipment that may pose a significant risk to the employee using the equipment. - Staff will be consulted when choosing work equipment.

N.B. This risk assessment must be reviewed annually and signed and agreed by all those who undertake the tasks.

E.  Circulation List

Please list people who have been informed of the assessment.

| NAME | DESIGNATION | SIGNATURE | DATE |
| --- | --- | --- | --- |

Reviewed by the Health & Safety Team October 2019